Details :

100 pcs. NEW SOLAR INVERTER

KACO blueplanet 10.0 NX3 M2

Including 10-year manufacturer's warranty

3-phase, multi-MPPT inverter

for private and small commercial PV systems

Simple installation, smart monitoring, user-frendly app

Manufacturer KACO New Energy, Germany

Type: Solar inverter, without transformer

Display: LEDs+APP

Communication: WiFi

3 phase

Pallet: 24 x inverter

Inverter dimensions: 435 x 503 x 183 mm.

Weight: 22 kg.

4500  USED PANEL

Trina Solar TSM225-240PC05 poly solar modules

Module type: TSM225-240PC05

Nominal power: 225Wp-240Wp

Nominal voltage (Vmp): approx. 31V

Further technical details: see data sheet

Cell type: 60 x polycrystalline solar cells

Project dismantling from European solar park

The PV modules have been tested for function

Highly resistant to a wide range of environmental conditions

Can be used worldwide

Wind load: Up to 2400Pa

Snow load: Up to 5400Pa

Used in Good condition. Uninstalled from ongoing operation.

Solar module dimensions: approx. 1650 x 992 x 40 mm Weight: 19.50kg

Pallet: 65 x TSM225-255PC05 PV modules (14.30KWp-16.58KWp nominal power)

Pallet dimensions: 1700x1100xH2900 mm Weight: approx. 1,300 kg